Title
Management of a pilonidal sinus with V.A.C.® Therapy

Authors(s)

Andreas Fette, MD, PGD, DDU, EMDM, F.MAS, EBSQ, EBPS, Consultant Surgeon and Paediatric Surgeon, University of Pecs Medical School, Hungary

Email: andreas.fette@gmx.de

Michael Pichotta, Key Account Manager, Insurance – Nord, KCI Medizinprodukte GmbH, Wiesbaden, Germany

Email: mpichott@kci-medical.com

Heading A

Abstract

This short paper reports on the successful treatment of a teenage patient with a pilonidal sinus. It describes the use of vacuum assisted closure therapy in this patient. The advantages of changing German healthcare policy to allow this therapy to be used in outpatient and home-based care settings is also discussed.

Keywords: pilonidal sinus; vacuum assisted closure; V.A.C.® Therapy; paediatric surgery, inpatient-to-outpatient transfer.

Key Points

1. A teenage patient with a recurrent pilonidal sinus was successfully treated with V.A.C.® Therapy.

2. After 14 days of treatment, the wound was closed and healed uneventfully.

3. The use of V.A.C.® Therapy would prove useful in patients in an outpatient setting, which is not currently permissible in Germany.

Heading A

Introduction

The fast and effective management of wounds has posed a considerable challenge to all clinicians, especially surgeons, for many years [1]. Clinicians must combine the use of proven treatment modalities with new and progressive wound management strategies [2] [3] [4] [5] [6] [7]. The vacuum assisted closure technique (V.A.C.® Therapy, KCI Medical, Wiesbaden) is one such treatment. Such modern techniques can be useful even in a relatively small discipline such as paediatric surgery, where chronic wounds occur less frequently than in older patients and are generally less troublesome [5] [6] [7] [8].

In the following case report we describe the experience of using V.A.C.® Therapy for the treatment of a classic pilonidal sinus in a teenager.

Heading A

Pilonidal sinus

A pilonidal sinus occurs when hairs in the natal cleft penetrate the skin [2] [7]. These subcutaneous displaced hairs cause irritation and inflammation. The area subsequently becomes infected, which may lead to abscess formation with a proximal and presacral extension. On examination, the area feels as though multiple ‘grape pips’ are present under the skin. A lack of stringent personal hygiene and microtrauma can increase the likelihood of abscess formation and fistulae [1].

The traditional treatment of a pilonidal sinus involves wound healing by secondary intention, since primary wound closure is considered to be prone to postoperative complications and leads to frequent recurrence of the problem. Therefore, broad excision and daily cleansing of these wounds is advised. Granulation tissue may take several weeks to appear and time to healing may be lengthy [1] [2] [7].

In the majority of cases, this procedure is performed as an inpatient treatment with multiple major daily dressing changes for the hospital staff and a considerable number of days off school or work for the individual patient. In addition, personal hygiene may be difficult for a patient to maintain and participation in sports and social activities may be a problem during healing. Since these concerns are of key importance for teenagers, it can be argued that the use of V.A.C.® Therapy in an outpatient setting may be advantageous for such patients.

Heading A
Case report

A 15-year-old boy presented with an ongoing fistulating pilonidal sinus in his ano-genital region, which had been present for approximately 18 months. The area was producing a continuous, offensive exudate that had caused him to withdraw from all sports and was affecting his school and social life. The area had previously been treated by performing a daily wash-out of the wound during showering and the application of a diluted iodine solution (Betadine) and dry gauze dressings.

After staining with methylen blue, the fistula network was excised under general anaesthesia (see Figure 1 and Figure 2). After meticulous cleansing of the wound, a V.A.C.® foam dressing (V.A.C. Granufoam®) was applied to the wound and the Freedom® V.A.C. unit was used to apply continuous pressure at 125mmHg (see Figure 3). The V.A.C.® dressing was changed by the surgeon without anaesthesia every two days. On the third dressing change the patient reported a sudden leakage of increased exudate, slough and debris was detected on the wound surface (see Figure 4).

Insert Figs 1 to 4 here with following captions

Figure 1 – The fistula network after incision and staining with methylen blue

Figure 2 – The wound after excision

Figure 3 – The wound with the V.A.C.® foam dressing in place

Figure 4 – A sudden leakage of exudate from the wound occurred on the third dressing change

The slough and debris were removed and a new V.A.C.® foam dressing applied. During the next dressing change, four days later, more slough was removed (see Figure 5 and Figure 6). After another two days of V.A.C.® Therapy the wound was clean and there was enough granulation tissue (see Figure 7) to perform secondary wound closure (see Figure 8). In total, V.A.C.® Therapy was used for 12 days After removal of the drains the wound healed uneventfully (see Figure 9).

Insert Figs 5 and 6, here with following captions

Figure 5 – More exudate, slough and debris was detected on the wound surface on the fourth dressing change

Figure 6 – The wound after complete removal of the exudate, slough and debris on the fourth dressing change

The patient was treated as an inpatient for the initial operation and at the point when the exudate, slough and debris were removed because these two procedures were performed under general anaesthesia. All other dressing changes were carried out without anaesthesia on a day-surgery basis, thus avoiding a long hospital stay, the costs this would involve and the impact on the patient’s quality of life.

Insert Figs 7, 8 and 9 here with following captions

Figure 7 – After 12 days the wound was clean and granulation tissue was present

Figure 8 – The closed wound after 12 days of V.A.C.® Therapy

Figure 9 – The wound after removal of the stitches. After closure, the wound healed without further problems.

Heading A
Use of V.A.C.® Therapy in outpatients

A literature review found that V.A.C.® Therapy is often a useful alternative to traditional treatment in these type of wounds because it supports granulation tissue formation, and provides continuous wound drainage [4] [5] [6] [7]. Use of the V.A.C.® Therapy system markedly reduced the number of dressing changes needed. Former leakage problems, especially around the anus or an artificial anus have been solved by new gluing techniques, allowing patients to take showers again and resume a social life [6] [8]. This better fixation around this sensitive and critical area improves patient comfort and care by reducing the risk of unwanted leakage of stool or discharge from the wound and the resulting malodour. The patient in this case study did not require such new gluing techniques.

The use of the V.A.C.® Therapy system offers many benefits and potential cost savings. The amount of time spent as an inpatient can be substantially reduced as shown in this case. In addition, potentially more patients could be managed on an outpatient basis [9].

In Austria and Switzerland, VAC therapy is used in this way with positive feedback from all parties involved [4] [6] [10] [11] [12] [13]. The necessary requirements for a successful transfer in these countries include:

- A correct diagnosis

- A doctor’s prescription for the V.A.C.® system

- Complete wound documentation (including digital images)

- A nursing care planning sheet [4] [10] [11].

The patients have been in favour of rapid return home [4] [10] [12] [13], while the carers found the interdisciplinary team approach led to more effective and efficient care [2] [4] [5] [9] [13].

Despite these obvious advantages, at present it is not routinely possible for inpatient-to-outpatient transfer of V.A.C.® Therapy for a paediatric surgical patient within the German health insurance system. This is because the Health Insurance Association states that it is unable to refund the cost of V.A.C.® Therapy until the federal decision authority has evaluated the therapy. The medical services department of the Health Insurance Association has also stated that the VAC technique has not yet been sufficiently evaluated. The use of single-case decisions, based on the evaluation of individual treatment needs, seems inappropriate [14]. This approach is usually taken with new therapies, but using the V.A.C.® as an outpatient therapy is not a new treatment; it is simply the continuation of a successful and already well-established inpatient therapy [9] [15].

The German social law statute book states ‘that any health insurance has to provide adequate, useful and economic care only and that care providers are not allowed to provide any unnecessary or uneconomic care to their patients’ [16]. A major piece of research by Augustin et al [17] has shown that V.A.C.® Therapy does indeed provide adequate, useful and economic care.

Augustin et al performed a utility analysis of V.A.C.® Therapy from the patients’ point of view on behalf of the Institute for Quality and Economic Research in Healthcare. The authors undertook a prospective, open and uncontrolled multicentre study, using the short version of the validated Freiburg Life Quality Assessment patient questionnaire. The study involved 98 adults with acute and chronic wounds who had received V.A.C.® Therapy, and who were asked to fill in questionnaires at the start and end of treatment. Of the 176 completed questionnaires, all stated that V.A.C.® Therapy achieved the desired therapeutic goal and that the patients felt comfortable with the therapy. All experienced a significant increase in their quality of life [17].

Heading A

Conclusion

It is hoped that the continuing successful use of V.A.C.® Therapy in the treatment of pilonidal sinus wounds on an inpatient basis will lead to the routine inpatient-to-outpatient transfer of this therapy in Germany before too long.

Heading A
References

Book

1.	Schumpelick V, Bleese NM, Mommsen U. Chirurgie (second edition). Stuttgart: Enke Verlag, 1989.

Book

2.	Bale S, Jones V. Wound Care Nursing: A patient-centred approach. London: Bailliere Tindall, 2006.

Book

3.	Banwell P. V.A.C.® Therapy™ Klinische Therapierichtlinien. Ein Handbuch für Anwender. Wiesbaden, Germany: KCI Medizinprodukte GmbH, 2006.

Book

4.	Baum S. Wundmanagement Taschenversion. Leitlinien zur Wundbehandlung am Kantonsspital Luzern (first edition). Luzern: Kantonsspital, 2004.

Article on PubMed
5.	Fette A. Discussing the relationship between quality care and cost-effective care in Swiss pediatric wound care. Plast Surg Nurs 2006; 26(4): 184-8.

Book (it’s proceedings from a conference so also has page numbers etc)

6.	Fette A, Epp B. VAC-KCI Vielseitig Anwendbares Concept für KinderChirurgische Indikationen. In: Foederatio Medicorum Chirurgicorum Helvetica (FMCH). 3-Länder-Kongress in Luzern/Schweiz 2007; March(suppl): 4–7. St Gallen/CH: MetroComm AG.

Book

7.	Téot L, Banwell PE, Ziegler UE. Surgery in Wounds. Berlin: Springer Verlag, 2004.

Book

8. 	Willy CH. Die Vakuumtherapie Grundlagen, Indikationen, Fallbeispiele, praktische Tipps. Altusried-Krugzell: Kösel Druck, 2005.

Book

9. Palfrey C, Thomas P, Phillips C. Effective Health Care Management: An evaluative approach. Oxford: Blackwell Publishing, 2004.

Article not on pubmed and an annual journal so no volume or issue numbers.
10. Auer AM. VAC Therapie – vom stationären in den Home Care bzw ambulanten Bereich. KCI Times 2007; 54-5.

Article not on pubmed and an annual journal so no volume or issue numbers.
11. Fink M. Überleitung VAC stationär – ambulant. KCI Times 2007; 53.

Article not on pubmed and an annual journal so no volume or issue numbers.
12. Hediger C. Erfolgreiche Überleitung. KCI Times 2007; 52.

Article not on pubmed and an annual journal so no volume or issue numbers.
13. Scaria G. Anwendung der V.A.C.® Therapie bei Dekubitus im extramuralen Bereich – ein Fallbeispiel. KCI Times 2007; 22–23.

Book (it’s proceedings from a conference so also has page numbers etc)

14. Medizinischer Dienst der Spitzenverbände der Krankenkasse eV (MDS). Vorläufige Hinweise für die Begutachtung von neuen Untersuchungs – und Behandlungsmethoden (NUB) unter Berücksichtigung des Beschlusses des Bundesverfassungsgerichts vom 6. Dezember 2005 – 1 BvR 347/98 – Ergänzung zur Begutachtungsanleitung NUB vom 14 Februar 2002. Siegburg: Medizinischer Dienst der Spitzenverbände der Krankenkasse eV, November 2006.

Article on PubMed
15. Sackett DL, Rosenberg WMC, Gray JAM, Haynes RB, Richardson WS. Evidence-based medicine: what it is and what it isn`t. Br Med J 1996; 312: 71-2.

Web address
16. http://www.sozialgesetzbuch.de (website of the German Social Law Statute Book) (accessed March 15, 2009).

Article not on PubMed

17. Augustin M, Zschocke I. Nutzenbewertung der Ambulanten und Stationären V.A.C. Therapie aus Patientensicht: Multicenterstudie mit Patientenrelevanten Endpunkten [Patient evaluation of the benefit of outpatient and inpatient vacuum therapy. Multicenter study with patient-relevant end points]. MMW, Fortschritte der Medizin Originalia 2006; 148(1): 25-32.

ENDS